HardwareX article template Version 2 (June 2021)

Before you complete this template, a few important points to note:

- Unsure whether your designs would make a suitable hardware article? Visit our webpage Everything you need to know about HardwareX.
- The format of a hardware article is very different to a traditional research article. To help you write yours, we have created this template. We will only consider hardware articles submitted using this template.
- HardwareX is dedicated to the communication of advances in open source scientific infrastructure. By submitting to the journal, you are confirming that all the information necessary to reproduce your design/hardware is communicated in full and is accessible for use under an open source license.
- It is important that the designs referred to in your HardwareX article are publicly available. You’ll find information on our hardware sharing criteria in the template. Not sure how to prepare your hardware for sharing? The Open Source Hardware Association has some best practice tips.
- Please consult the HardwareX Guide for Authors when preparing your manuscript; it highlights mandatory requirements and is packed with useful advice. We have also developed a step-by-step video guide to help you complete this template accurately and increase your chances of acceptance.
Still got questions?
Visit our Everything you need to know about HardwareX webpage or email us at hardwareX@elsevier.com

Now you are ready to fill in the template below. As you complete each section, please carefully read the associated instructions. All sections are mandatory.
Once you have completed the template, delete this line and everything above it before submitting your article. In addition, please delete the instructions in the template (the text written in italics).
- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

Article title
A General Purpose Alarm Device (GPAD)

Authors
Robert L. Read*, Lawrence Kincheloe, Forrest Lee Erickson

Affiliations
Robert L. Read	Lawrence Kincheloe	Forrest Lee Erickson
Public Invention	Public Invention
1709 Norris Dr.	1709 Norris Dr.
Austin, TX, 78704	Austin, TX, 78704

Corresponding author’s email address and Twitter handle
read.robert@pubinv.org
twitter: @robertleeread

Abstract
Max. 200 words. Remember that the abstract is what readers see first in electronic abstracting & indexing services - make it brief, specific, interesting and easy to understand. If a research article refers to your hardware, cite that research article here.

The General Purpose Alarm Device (GPAD) is an electronic device which is a Peripheral and is easy to design into a system on a teather (long cable) where some other device in the system is a Controller but which does not have a user interface every where needed. The General Purpose Alarm Device (GPAD) alerts persons to a system problem needing attention by illuminating bright LEDs and making a loud noise. A 40-character display can be used to provide detailed additional information about the system problem as instructed by the Controller. A mute button can be used to mute the alarm. Control of the GPAD can be through the a USB (COM serial port) or an 5V SPI interface. The GPAD supports 5 alarm levels of increasing urgency. It is based on the Arduino Uno Atmega328 design and potentially extensible the same way an Uno is, through headers and shields. It is driven by the need to produce a medical alarm for mechanical ventilator, but has wide applicability to alarm engineering, scientific, and hobby machines and instruments. Our design includes the printed wiring assembly, firmware for the GPAD Peripherial, An API and example source code for the system Controller and a 3D printable enclosure.

Keywords
alarms, arduino, UNO, SPI, medical alarms, monitoring

Specifications table
Please replace the italicized instructions in the right column of the table with the relevant information about your hardware.

Hardware name	General Purpose Alarm Device (GPAD) v2.0
Subject area	General
Hardware type	Other: general alarms for digitally detectable alert conditions
Closest commercial analog	No commercial analog is available.
Open source license	CERN Open Hardware Licence Version 2 - Strongly Reciprocal
Cost of hardware	$100.00
Source file repository	If you’ve uploaded your source files to an approved repository (OSF, Mendeley Data or Zenodo) write the DOI URL here. / For example: http://doi.org/10.17605/OSF.IO/WGK7Q
OSHWA certification UID (OPTIONAL)

Hardware in context
Write a short description of the hardware and provide context, i.e., describe similar open hardware and proprietary equipment in the field.
We have designed a printed wiring assembly and an enclosure. The enclosure is approximately 160mm x 110mm x 50mm (6”x4.25”x1.75”) The assembly weights 232 grams (exclusive of any power supply).
The device has a 20x4 character display (English characters), five bright white programmable LEDs, a programable buzzer, a “Mute” button which silences the buzzer and a non programmable power indicator LED. The enclosure hangs by (for example) tie wraps from a rail for vertical display or can rest on a horizontal surface. Typical signal connection is by an RJ12 data cable. Power is by an external wall supply with a 2.1mm center conductor power jack at 9-12V at <1000 mA

Hardware description
Describe your hardware, highlighting the customization rather than the steps involved in the procedure. Explain how it differs from other hardware and the advantages it offers over pre-existing methods. For example, how does this hardware compare to other hardware in terms of cost or ease of use, or how can it be used to develop further designs in a particular area?
The GPAD integrates several features hobbyist find useful in one one device.
Although you can purchase 20x4 displays with parallel or I2C interfaces it is the integration in one PCB and enclosure of all of the features which our device adds to make this tethered device integrate into a system easy.

Add 3-5 bullet points which broadly explain to other researchers - inside or outside of the original user community - how the hardware could help them, with either standard or novel laboratory tasks.
The GPAD Features
Five Bright LEDs,
A buzzer to indicate urgent attention required,
A button (to mute that buzzer) for minimum user feedback,
A 20x4 character display to provide detailed information to the user.
Enclosure which can be vertically mounted by hanging for example with wire ties.

Design files
Your design files should be editable - see OSHWA’s open source definition of ‘Documentation’ for further details. You must then either:
- Upload your design files to one of the three approved online repositories - Mendeley Data (instructions), the Open Science Framework (instructions) or Zenodo (instructions). We recommend this option as the repositories support versioning of files.
- Upload your design files as supplementary materials (e.g., CAD files, videos…) to Hardware X’sOpen Hardware Repository online editorial system when you submit your manuscript.
- Include your design files in the body of the manuscript (e.g., as figures).

CAD files: You are encouraged to use free and open source software packages for creating the files. For CAD files, OpenSCAD, FreeCAD, or Blender are encouraged, but, if these are not available, we accept source files from proprietary CAD packages, such as Autocad or Solidworks, and other drawing packages.

3D printing. Supplementary files that facilitate digital replication of the devices are encouraged; for example, STL files for 3D printing components. We recommend uploading CAD files to the NIH 3D Print Exchange as Custom Labware and then entering the link here.

Electronics: PCB layouts and other electronics design files can be uploaded to the  or other repositories or as supplementary materials.

Software and firmware: All software files used in the design and operation of the hardware should be included in the repository. Provide a description of the software and firmware and use extensive comments in the code.

Design files summary
Complete a separate row for each design file associated with your hardware (including the primary design files). Any empty rows should be deleted.

Design file name	File type	Open source license	Location of the file
For example: Design file 1	e.g., CAD files, figures, videos	All designs must be submitted under an open hardware license. Enter the corresponding open source license for the file.	Either enter the URL for the repository or the sentence: "Available with the article".
Firmware	A folder with source files. A README.md there descirbes the various source files	Firmware: Affero GPL 3.0	https://github.com/PubInv/general-purpose-alarm-device/tree/main/Firmware
Hardware	Folder holding a README describing the subfolders to follow.	CERN Open Hardware Licence Version 2 - Strongly Reciprocal	https://github.com/PubInv/general-purpose-alarm-device/tree/main/Hardware
GeneralPurposeAlarmDevicePCB	KiCad schematic and PCB files	CERN Open Hardware Licence Version 2 - Strongly Reciprocal	https://github.com/PubInv/general-purpose-alarm-device/tree/main/Hardware/GeneralPurposeAlarmDevicePCB
Enclosure	OpenSCAD and FreeCAD source files, STL and STEP files for the enclosure	CERN Open Hardware Licence Version 2 - Strongly Reciprocal	https://github.com/PubInv/general-purpose-alarm-device/tree/main/Hardware/Enclosure
Manufacturing	Bill of materials, Germber files and desecrption records of parts ordered for the builds.	CERN Open Hardware Licence Version 2 - Strongly Reciprocal	https://github.com/PubInv/general-purpose-alarm-device/tree/main/Hardware/Manufacturing
Manufacturing and Unit Test Documentation	Assembly instructions and notes	CERN Open Hardware Licence Version 2 - Strongly Reciprocal	https://github.com/PubInv/general-purpose-alarm-device/blob/main/Hardware/Documentation/ManufacturingUnitTestTroubleshootingRev2.md

For each design file listed in the summary table above, include a short description of the file below (just one or two sentences per design file).

Bill of materials
If your bill of materials is long or complex, you can upload the details in an editable spreadsheet, e.g., ODS file type, Excel spreadsheet or PDF file, to an open access online location, such as the Open Science Framework repository. Include the link here. Alternatively, the bill of materials can be submitted alongside your manuscript as supplementary material.

The spread sheet used to receive the KiCad generated BOM/PARTS LIST and to transform it into the files necessary for ordering PCB assemblies from JLCPCB is found at:
https://github.com/PubInv/general-purpose-alarm-device/blob/main/Hardware/GeneralPurposeAlarmDevicePCB/GPAD_V2_BOM.xls

Instructions are built into the spreadsheet for its use.
JLCPCB build the raw PCB and did SMT assembly and some through hole assembly. The balance of the through hole assembly was done by Public Invention volunteers.

Bill of materials summary
Complete a separate row for each component of your hardware – all components associated with a cost should be listed and any empty rows should be deleted.

Designator	Component	Number	Cost per unit -currency	Total cost - / currency	Source of materials	Material type
If possible, use the same designator here as you use in the associated design file. If that’s not possible, you will need to explain the relationship between the two.	Name of Component 1	Number of units	Cost per unit and the currency used	Total cost and the currency used	If possible, include a direct link to a webpage where the component can be purchased	Select from: / -Metal / -Semi-conductor / -Ceramic / -Polymer / -Biomaterial / -Organic / -Inorganic / -Composite / -Nanomaterial / -Semiconductor / -Non-specific / -Other

You can use this space for any additional descriptions of the materials used.

Build instructions

Detailed instructions for the balance of manufacturing on the assemblies received from JLCPCB is in a mark down document, “Manufacturing and Unit Test Documentation, PCB Version 2.0, 20230228” found at:
https://github.com/PubInv/general-purpose-alarm-device/blob/main/Hardware/Documentation/ManufacturingUnitTestTroubleshootingRev2.md
The time to build assemblies was capture in a Github Issue.
See Github Issue #229: The labor to assemble the printed circuit assembly is approximately 40 minutes per unit.
Provide detailed, step-by-step construction instructions for the submitted hardware:
- Include all necessary information for reproducing it.
- Explain and (when possible) characterize design decisions. Include any design alternatives you created.
- Use visual instructions such as schematics, images and videos.
- Clearly reference design files and component parts described in the Design file summary and the Bill of materials summary.
- Highlight any potential safety concerns.

Operation instructions
Provide detailed, step-by-step instructions for the safe and proper operation of the hardware.
- Use visual instructions, as necessary.
- Highlight any potential safety hazards.
The GPAD is activated by sending it digital commands over a cable from a different microcontroller. The basic use case is that a condition which needs human attention is detected in whatever manner possible by a sensing microcontroller or computer, called the controller. For example, the sensing device might detect that a temperature is too high, or that a the total flow through an airway in one minute is too low. It than calculates which of five alert levels (not counting the “no alert” condition, which could be considered a sixth) represents the severity of the condition, and a message of up to 80 characters that will inform a person how to remedy the problem. This message is displayed on the back-lit LCD on the GPAD itself. The LCD is dark when the alarm level is silent and back-lit in the other alarm levels.

Conceptually, the sensing device treats the GPAD as an API—an Application Programmers Interface. The six alarm levels are conceptually named:
1. Silent,
2. Informational,
3. Problem,
4. Warning,
5. Critical,
6. Panic.
The exact meaning of the six levels can be defined by the user for the application. Of course, not all six have to be used. However, the affect of the device should be clear: increasing severity leads to increasing sound and light levels produced by the device to obtain the attention of a human being. The GPAD has 5 LEDs, which are normally unlit in the Silent mode. Each increase in alarm level increases the number of LEDs lit. Our intention is that even from across a room a user may comprehend the alarm level at a glance.

Similarly, the GPAD makes a loud siren sound, which could be described as a “squeal” or a “scream”. This sound currently gets louder as the alarm level increases. We believe future versions should program additional severity cues, such as pulsing on-and-off at different rates, but we have not yet coded that. Of course, the user is free to change or improve the coding of the GPAD itself.

In order to actually send the message, the programmer of the sensing device will likely use our software library. A C/C++ programmer will likely immediately understand the API from its actual declaration in the file alarm_api.h:
#ifndef ALARM_API
#define ALARM_API
#include <Stream.h>

enum AlarmLevel { silent, informational, problem, warning, critical, panic };
// const char *AlarmNames[] = { "OK ","INFO.","PROB.","WARN ","CRIT.","PANIC" };
const int NUM_LEVELS = 6;

const int MAX_MSG_LEN = 80;
const int MAX_BUFFER_SIZE = MAX_MSG_LEN + 1;
typedef struct {
        uint8_t lvl;
        // we will use a null-terminated string!
        char msg[MAX_MSG_LEN+1];
        } AlarmEvent;

int alarm_event(AlarmEvent& event,Stream &serialport);
int alarm(AlarmLevel level,char *str,Stream &serialport);

#endif
The API has two entry points: alarm and alarm_event. The function alarm is simply a convenience function for calling AlarmEvent which constructs an AlarmEvent for the programmer. An AlarmEvent, as stated above, consists of an AlarmLevel and an 80-character (null-terminated) character array holding the message to be displayed on the LCD.

### Hardware Connection
Schematics in PDF form can be found in the folder at:
https://github.com/PubInv/general-purpose-alarm-device/tree/main/Hardware/GeneralPurposeAlarmDevicePCB/PDF
You can View Schematics on Line with the links at: https://github.com/PubInv/general-purpose-alarm-device/tree/main/Hardware/GeneralPurposeAlarmDevicePCB
The GPAD requires a 12V power supply via a standard 5.5mm OD 2.1mm pin. It draws less that 1000 mA, even at the highest alarm level.
The GPAD exposes an SPI interface through an RJ12 jack. The SPI pins are mapped the the RJ12 jack as:
## SPI Peripherial Pins
The connector is JR12 6P6C and pin 1 is on the left when the connector is held with the contact pins up and facing the observer.
Note the GPAD is a 5V logic level peripheral device. Level shifters must be used when controlled by a 3.3V device.
Pin#	Signal Name	Note
1	nCS	Active low
2	COPI	Input to GPAD
3	GND
4	SCK	Input to GPAD
5	ControllerVcc	5 Volts, an optional way to put power into the GPAD
6	CIPO	Output from GPAD, 5V.

Muting

The GPAD has a mute button. The button silences the sound but does not change the LED lighting. The GPAD stores an internal state as muted or not. The mute state is not accessible to the controlling device.

Example Controller Devices

In order to develop and test the GPAD the functioning of the GPAD, it can be driven easily by a serial interface from a laptop computer by simply using a serial monitor. We have designed a trivial interface of commands that the GPAD listens for on the serial interface. Each command begins with one of 4 characters and is terminated by a newline. These are:
“a” is the most important command, and is used to set the alarm level.

s

Validation and characterization
Demonstrate the operation of the hardware and characterize its performance for a specific scientific application.
- Highlight a relevant use case.
- If possible, characterize performance of the hardware over operational parameters.
- Create a bulleted list describing the capabilities (and limitations) of the hardware. For example, load and operation time, spin speed, coefficient of variation, accuracy, precision, etc.

CRediT author statement

Robert L. Read: Conceptualization, Software, Funding Acquisition, Writing – Original Draft. Lawrence Kincheloe: Supervision, Methodology. Forrest Lee Erickson: Software, Validation.

Lawrence Kincheloe designed the enclosure and mentored the OU capstone projects.. Lee performed schematic capture designed the PCBs.

Please add a CRediT author statement for your data article here, using thepage. categories listed on this web

Acknowledgments

## Oluseyi 'Seyi' Adeniyi made significant improvements to the test software.

We would like to thank two senior capstone engineering classes at the University of Oklahoma who made potential extensions to the GPAD. Although they have not yet been used in this project, they have clarified our thinking for future enhancements.

Funding: This work was supported by Public Invention, Austin, TX, a US 501c3 public charity.

References
If relevant, you should include a reference to the original publication of the hardware you customized and a reference to the repository in which your design files are published. Other references can be included, as required; for example, references that put your device in context in the literature. For more information on the reference format in HardwareX please see the Guide for Authors.

______________________________________________________________________
Additional Information for authors. (do not include these lines in your submission)
Author manuscript checklist
Is the subject of the submission under an open source license? Are design files in the preferred format for making modifications as defined by the Open Source Hardware definition?

Can the hardware be reproduced with the details provided in the submission?

- Are all relevant design files available on either the Mendeley Data, Open Science Framework, or Zenodo repository? Are they described in the Design Files Summary, and clearly documented? (E.g., descriptive file names, commented code, labeled images, etc.)
  - If in the Open Science Framework, has the repository been registered? Instructions
  - If in Zenodo, is the repository open access and published? Instructions
  - If in Mendeley Data, is the repository published or the sharable link included in the additional information you plan to submit? Instructions

Are visual instructions used when necessary?

Is the utility of the hardware to the scientific community explained clearly? Has a specific scientific application been demonstrated using the hardware?

Is the performance of the hardware adequately demonstrated and characterized?

Are all potential safety concerns addressed?

For more information on the article template consult the Guide to Authors.

Reminder: Before you submit, please delete all
the instructions in this document (the text in italics), including this paragraph.
Thank you!